

**Liquid Roofing Products**

##### Guideline Specifications

SECTION 09.97.26

***Acrycrete***

**Exterior Cementitious Coating**

**© 2013 David V. Schubert, NCARB, AIA for Acrylabs**

**PART I-GENERAL**

* 1. SUMMARY

1. This specification describes the Exterior Cementitious Waterproofing Coating system known as Acrycrete as required for the specific project coatings operation.
   1. DESCRIPTION
2. The Acrycrete system is intended to be used as a cementitious topping and waterproofing system for existing concrete substrate for walkable surfaces including sidewalks, plaza decks, balcony decks and swimming pool decks. Other Acrycrete application systems are available for multiple substrates such as the following
3. Horizontal substrates:

* Plywood
* Other concrete or cementitious surfaces
* Densdek
* Magnesium oxide board
* Medium density hardboard (MDO)
* Existing Acrylabs membrane systems

1. Exterior exposed vertical wall systems:

* Concrete
* CMU (Concrete block)
* Other surfaces included in paragraph 1.02.A.1

1. Below grade foundation waterproof systems:

* Concrete
* Parged CMU
* Other masonry or cementitious systems

1. In general, the Acrycrete System is intended for successful applications at surfaces above and below grade, positive and negative sides, and floors below and above grade.
2. Refer to Acrylabs Technical Department for specific Specification Sections in the 09.97.26 family for all specific descriptions and installation instructions.
3. This specified system can be used as a full coverage system, hole and surface repair, decorative surface treatment, “knock-down” finish, spray texture finish and other similar finishes for concrete substrate repair and waterproofing.
   1. REFERENCES
4. ASTM C33: Specification for Concrete Aggregates
5. ASTM C150: Specification for Portland Cement
6. ASTM C 1404: Standard Test Method for Bond Strength of Adhesive Systems used with concrete as measured by direct tension.
7. ASTM C1445-04 Standard Test Method for Determining the Apparent Chloride Diffusion Coefficient of Cementitious Mixtures.
8. ASTM C1059-08: Standard Specification for Latex Agents for Bonding Fresh to Hardened Concrete.
9. ASTM C957-06: Standard Specification for High Solids Content, Cold Liquid Applied Elastomeric Waterproofing Membrane with Integral Wearing Surface.
10. ASTM C666M-031: Standard Test Method for Resistance of Concrete to Rapid Freezing and thawing.
11. ASTM C884-05: Standard Test Method for Thermal Compatibility Between Concrete and an Epoxy Resin Overlay.
    1. QUALITY ASSURANCE
12. Supplier Qualifications: The ACRYCRETE System as supplied by Acrylabs, 101 N. Prospect Street, Reading, PA 19606. (No substitutes)
13. Applicator Qualifications: The applicator shall be approved by Acrylabs to apply the system. Manufacturer’s written verification of applicator approval is to be included with Bid Forms.
    1. PRODUCT DELIVERY, STORAGE AND HANDLING
14. Containers and Packaging: Deliver materials in original sealed containers, clearly marked with manufacturer’s logo; full product name; and lot number(s).
15. Storage: Store materials between 50° F and 85° F with careful handling to prevent damage to products. If conditions exceed these ranges, special consideration in storage must be taken. Do not store at high temperatures in direct sunlight.
16. Protection: Protect all materials from freezing and other damage during transit, handling, storage, and installation.
    1. ADVANTAGES AND BENEFITS
17. Protects masonry surfaces from water damage.
18. Will not peel off like stick-on adhesives.
19. Wear-resistant and resistant to damage.
20. Resists ponding water.
21. Extremely U.V. resistant.
22. Resists acid rain and chemical pollutants to protect from chemical spills and fall-out damage.
23. Meets V.O.C. emissions and regulations to eliminate facility downtime during installation.
24. ‘Environmentally safe’.
25. Easy application and cleanup.
26. Tough.
27. Durable.
28. Attractive.
29. No special equipment required to install.
    1. PROJECT CONDITIONS
30. For application details of coating system consult Acrylabs for recommendations on the proper system to use on project substrate and at expected substrate and ambient temperatures.
31. Do not proceed with application of coating materials when surface or ambient temperature is less than 45° F or when freezing temperatures are expected within 24 hours.
32. Moisture content of concrete substrate must be less than 20% and the ph must be between 5 and 8.
33. Cross reference preparation work with paragraph 1.08, Inspection and Assessment.
34. Do not apply materials unless surface to receive system is clean and dry.
35. Install all material in strict accordance with all published safety, weather, or applicable specifications of the manufacturer and/or regulations of local, state, and/or federal agencies which have jurisdiction.
    1. INSPECTION AND ASSESSMENT
36. Inspection and Assessment by installer should include the following:
37. Condition of substrate
38. Necessary preparation work
39. Adequate slopes for drainage when applicable
40. Extent and/or physical limitation of coating systems
41. Limiting environmental conditions
42. Cleanliness of surface
    1. SYSTEM DESCRIPTION
43. Performance Requirements:
44. Furnish and install liquid applied Acrycrete System reinforced composite membrane system in accordance with manufacturer’s performance criteria without defects, damage, failure, or infiltration of water.
    1. SUBMITTALS AND WARRANTIES
45. Product Data: Provide written technical information and installation instructions from Acrylabs which demonstrates that materials to be installed comply with contract documents.
46. Submit shop drawings indicating details showing treatment of transitions, edges, closures, penetrations, etc.
47. Submit Acrylabs Material Safety Data Sheets (SDS).
48. Verify field measurements and submit materials list, including quantities, to be applied to achieve specified membrane thickness.
49. Furnish Acrylabs 5-year Renewable Material Performance Warranty.
50. Contractor/applicator will provide 2-year workmanship warranty on application of Acrylabs products and repairs to substrate. The occurrence of leaks caused by defects in workmanship will be remedied at no cost to the building owner according to provisions of the contractor warranty.
    1. QUALITY ASSURANCE
51. Applicator Qualifications: The applicator of the coating material specified herein shall be an approved applicator (designated by Acrylabs). Proof of this qualification shall be provided in written form from the manufacturer of the coating system.
52. Certificate: When requested, submit certificate indicating applicator qualifications.
53. Completed project reference list: When requested, submit a list of three (3) projects of similar nature using products of the type specified herein. List shall include the following: Project name and locations, size, cost, contact person and phone number.
54. All details must be installed in conformance with the current Acrycrete specifications and detail drawings.
55. Final inspection by an authorized representative of Acrylabs shall be required for warranty. Final inspection shall not replace the normal responsibilities of the contracting parties. Request for final inspections must be forwarded to Acrylabs upon substantial completion of the project. Any deviations from Acrycrete specifications must be noted on an “as-built” drawing.
56. Provide all primers, coatings, reinforcement fabrics and accessories as manufactured and/or approved in writing by Acrylabs.
    1. ENVIRONMENTAL CONDITIONS
57. It is the responsibility of the applicator to determine if present and forecast weather conditions are acceptable for application of Acrycrete coatings.
58. Do not apply Acrycrete coatings when precipitation in the form of rain, snow, dew, etc. is expected before materials have a chance to dry fully. Do not apply Acrycrete coatings when freezing temperatures are possible within 24 hours after application.
59. Do not apply coatings when the temperature of surfaces to be coated and/or surrounding air temperatures are less than 45°F. Refer to Section 1.07, paragraph B.
60. Do not apply Acrylabs coatings when the dew point can be reached before the coatings have sufficiently dried or cured. Special considerations must be given during spring and autumn applications for rapid temperature changes near sunset, shortened workdays may be required.
61. Allow wet surfaces to dry thoroughly and to attain temperature and conditions specified before proceeding with or continuing coating operation.
62. Wind conditions must be considered during application of products to avoid damage to adjacent surfaces or completed work. Provide for protection of other surfaces.
    1. SAFETY REQUIREMENTS
63. Users should familiarize themselves with appropriate Material Safety Data Sheets (SDS). SDS must be available at all worksites where materials are being used.
64. Materials shall be applied in accordance with all applicable local, state, and federal regulations.
65. Handle on pails should only be used to hand carry pail and should not be used to hoist pail from ground to roof.

**PART 2 – PRODUCTS**

1. LIQUID Applied Reinforced Composite Membrane System
2. Manufacturer: Acrylabs

Contact: 101 N. Prospect Street, Reading, PA 19606

Phone: (866) 273-1355

E-mail: [CustomerService@acrylabs.com](mailto:CustomerService@acrylabs.com)

Website: [www.acrylabs.com](http://www.acrylabs.com)

1. Substitutions: None
2. Materials
3. The Acrylabs R45 System shall include but not be limited to:

1. Elastomeric Basecoat Acrylabs Base Coat

2. Elastomeric Finish Coat Acrylabs Finish Coat

3. Polyester Reinforcing Fabric Fabric Reinforcement

1. Acrylabs Minimum Material Properties:
2. Elastomeric Coatings – Elastomeric coatings shall be water-dispersed 100% acrylic elastomeric coatings designed for use in reinforced composite membrane systems. Materials shall meet the following minimum specifications:

***Liquid Property Requirements Base Coat***

Minimum ASTM

Weight Per Gallon 12 lbs. D-1475

Solids by Weight 67% D-1644-A

Solids by Volume 55% D-2697

Viscosity 125 - 140 KU D-562-A

***Liquid Property Requirements Finish Coat***

Minimum ASTM

Weight Per Gallon 12 lbs. D1475

Solids by Weight 67% D-1644-A

Solids by Volume 55% D-2697

Viscosity 125-140 KU D-562-A

***Cured Film Physical Property Requirements Base Coat***

Minimum ASTM Standard

Low Temperature Flexibility passes D522-93A

@ -49ºF

Percent Elongation (break) 196% D-2370

@73.4ºF

Tensile Strength (psi) 236 psi D-2370

@73.4ºF

Permeability (20 mil film) <21.9 perms D-1653-B

@73.4ºF

Water Swelling 9.2 D-471

@73.4ºF

Accelerated weathering 2 years-no effect G-53

Fungi Resistance Zero rating

***Cured Film Physical Property Requirements Finish Coat***

Minimum ASTM Standard

Low Temperature Flexibility passes D522-93A

@ -49ºF

Percent Elongation (break) 196% D-2370

@73.4ºF

Tensile Strength (psi) 236 psi D-2370

@73.4ºF

Permeability (20 mil film) <21.9 perms D-1653-B

@73.4ºF

Water Swelling 9.2 D-471

@73.4ºF

Accelerated weathering 2 years-no effect G-53

Fungi Resistance Zero rating

Cured Film shall also pass Rain Permeability testing according to ETP-1375, Mil-Std-810E, Method 506.3, Proc.III

1. Fabric Reinforcement – Stitch bonded polyester for use in cold liquid applied roof membranes that shall provide high strength and good elongation.

***Fabric Reinforcement (Average typical properties)***

ASTM StandardResults

Tensile strength WARP=74lb / WEFT=45lb D-5034

Elongation WARP=21lb / WEFT=51lb D-5034

Ball Burst 111 lbs. D-3787

Mullen Burst 176.8 lbs. D-3786

Tear Strength WARP=14lb / WEFT=24lb D-1117

1. APPLICATION EQUIPMENT
2. Waterproofing Membrane: Acrycrete coatings shall be applied by brush, trowel, or roller.
3. Acrycrete Textured Finish System: Textured system may be “brush dropped” for a knockdown texture. Acrylabs recommends that a hand-held, texture spray gun and hopper be used. Air pressure must be a continuous 25 psi with a regulation valve at the gun. Trowel will be necessary for “knockdown” effect.
4. RELATED MATERIALS AND ACCESSORIES
5. Related products supplied by Acrylabs as required:
6. Acrylic Base Coat Cementitious Interface
7. Flashing Grade Elastomeric
8. Universal Cleaner
9. Rust Inhibitive Primer
10. Concrete and Masonry Sealer
11. Sealant (**Silicone sealant unacceptable**)
12. Polyurethane
13. Polysulfide
14. Acrylic

**PART 3 – EXECUTION**

1. MANUFACTURES INSTRUCTIONS
2. Compliance: Comply with Acrylabs product data, recommendations and installation instructions for substrate verification, preparation requirements and installation.
3. EXAMINATION
4. Examine the substrates, flashing conditions, penetrations, equipment supports, curbs, adjoining construction and the conditions under which the work is to be installed. Do not proceed with the work until unsatisfactory conditions have been corrected and substrate is acceptable.
5. Applicator shall be responsible for providing a proper substrate to receive the Acrycrete system.
6. Verify that substrate is dry and free of oil, grease, dust, rust, or other contaminants.
7. Defects in substrate shall be noted and work shall not proceed until such defects have been corrected.
8. PREPERATION
9. Substrate: After existing substrate is cleaned and repaired, as required, but prior to starting new coating system installation work, complete all substrate corrective actions required. Substrate shall be dry and free of debris.
10. Concrete decking, balconies, and other walking surfaces shall be power washed at medium pressure to insure a clean acceptable surface.
11. All structural steel or other ferrous secondary structural members shall be wire brushed thoroughly and cleaned to insure a rust-free surface. White metal finish is not required.
12. Apply one coat of rust inhibitive primer to all cleaned ferrous metal surfaces.
13. Install brush grade acrylic caulk to all open joints, cracks, and seams.
14. Apply Acrylabs Base Coat and Fabric Reinforcement to all brush grade acrylic caulk locations.
15. INSTALLATION
16. Liquid Applied Waterproof Membrane
    * 1. Following inspection and acceptance of substrate condition, install the Acrycrete System using minimum coverage indicated in the manufacturer's guidelines. Adherence to guidelines will yield a minimum membrane thickness of 45 mils over entire surface covered.
      2. Bridging at 90° intersection, at changes in plane and selective conditions before additional preparation as described in paragraph 3.03.F is to be performed as follows: Acrylabs Base Coat & Fabric Components- Consist of one coat of Base Coat applied to the substrate, Acrylabs Fabric Reinforcement (sizes vary) laid into the wet Base Coat, and finally a second coat of Base Coat saturating the fabric from above. Care should be given to ensure that adjacent runs of fabric are overlapped a minimum of 3 inches. Base Coats are applied at a total rate of 1.25 gallons per 100 sq. ft. depending on substrate.
      3. Deck Field- Embed reinforcement fabric and basecoat to field of deck: Apply tack coat of Acrycrete at approximately 1/2 gallon per 100 sq. ft. Immediately embed Fabric Reinforcement into wet coating. Continue waterproofing up vertical surfaces as required and onto deck. Care must be taken to lay the fabric to the contact surface avoiding wrinkles, fish mouths, etc.
      4. Roller or brush shall be used to ensure that Fabric Reinforcement is fully embedded.
      5. Immediately after embedding Fabric Reinforcement into wet coating, apply an additional coat of Acrycrete slurry mix at a minimum rate of 1/2 gallon per 100 sq. ft. completely saturating fabric.
      6. Apply liquid applied flashings at detail work:

1. All flashings must be completed in accordance with published Acrylabs details before final application of Finish Coatings.
2. Apply a generous coat of Base Coat to the area to be flashed and embed Fabric Reinforcement into wet coating.
3. Brush shall be used to ensure that Fabric Reinforcement is fully embedded.

1. Apply additional coating to the top of fabric taking care to completely saturate and cover the fabric and provide a weatherproof seal.

* + 1. Repair all fish mouths, bridging, or other defects in the previously applied Fabric Reinforcement by cutting excess fabric, if required, and making necessary repairs using Fabric Reinforcement and Base Coat.
    2. Apply finish coats in color specified: after prior steps have had at least 24 hours to dry. Contact Acrylabs regarding coverage and procedure.

1. Textured Deck Coating

1. Contact Acrylabs Technical Department pursuant to textured or Knock-Down decorative applications.

1. FIELD QUALITY REQUIREMENTS
2. Verify final film thickness as specified. If specified dry film thickness has not been achieved, application of additional coating will be required.
3. Visually inspect critical areas of the deck surfaces including seams, cracks, joints and penetrations, touch up with additional Acrylabs coatings to ensure complete and adequate coverage.
4. FINAL CLEANING
5. Except as otherwise provided remove temporary protection devices and facilities which were installed during the course of the work.
6. Clean project site, sweep paved areas, and rake clean other surfaces of construction debris.
7. Remove debris, surplus materials, and trash from project site.
8. All soiled surfaces shall be cleaned using approved materials and methods.
9. PROTECTION OF COMPLETED MEMBRANE
10. Protect completed membrane from damage by work of other trades. Schedule sequence of work so that traffic over new membrane is minimized. Institute required procedures for protection of completed membrane during installation of work from other trades throughout remainder of construction period. Do not allow traffic of any type on unprotected membrane.
11. At completion of construction activities of other trades, touch-up and restore damaged or defaced coated surfaces. Correct damage by cleaning, repairing, replacing, and/or recoating to make acceptable to the specifier and/or Acrylabs.

END OF SECTION